## Sample Issues
Sample Type | Sample ID | Sample Date | Keep or Delete? | Change ID? If yes what is the new ID | Lab Change Needed? | Notes
3 | 1009 | 2019-01-31T13:29:00.000+03 | delete | no | no | Lab entry is on Feb 12th, matches the below entry for the same sample ID
3 | 1009 | 2019-02-12T15:05:00.000+03 | keep | no | no
3 | 1010 | 2019-01-31T13:48:00.000+03 | delete | no | no | Lab entry is on Feb 12th, matches the below entry for the same sample ID
3 | 1010 | 2019-02-12T15:11:00.000+03 | keep | no | no
9 | 1021 | 2018-11-23T13:21:00.000+03 | keep | 1061 |  | next codes which happened to be 1021-1030 but these were for drinking water and was corrected in lab
3 | 1021 | 2019-01-09T11:03:00.000+03 | keep | no
3 | 1022 | 2018-11-22T10:41:00.000+03 | delete | no | no | Lab entry for this sample type is on Jan 10th, 2019 - doesn’t match sample date in this row
9 | 1022 | 2018-11-23T13:23:00.000+03 | keep | 1062 | no
3 | 1022 | 2019-01-09T11:10:00.000+03 | keep | no | no
9 | 1023 | 2018-11-23T13:29:00.000+03 | keep | 1063
3 | 1023 | 2019-01-09T11:15:00.000+03 | keep | no
9 | 1024 | 2018-11-23T13:30:00.000+03 | keep | 1064
3 | 1024 | 2019-01-09T11:23:00.000+03 | keep | no
9 | 1025 | 2018-11-23T13:36:00.000+03 | keep | 1065
3 | 1025 | 2019-01-09T11:36:00.000+03 | keep | no
9 | 1026 | 2018-11-23T13:38:00.000+03 | keep | 1066
3 | 1026 | 2019-01-09T11:42:00.000+03 | keep | no
9 | 1027 | 2018-11-23T13:48:00.000+03 | keep | 1067
3 | 1027 | 2019-01-09T12:12:00.000+03 | keep | no
9 | 1028 | 2018-11-23T13:49:00.000+03 | keep | 1068
3 | 1028 | 2019-01-09T12:27:00.000+03 | keep | no
9 | 1029 | 2018-11-23T13:52:00.000+03 | keep | 1069
3 | 1029 | 2019-01-09T12:34:00.000+03 | keep | no
9 | 1030 | 2018-11-23T14:00:00.000+03 | keep | 1070
3 | 1030 | 2019-01-09T16:27:00.000+03 | keep | no
9 | 1055 | 2018-11-16T12:44:00.000+03 | delete | no |  | Sample poured and needed to be re-collected
9 | 1055 | 2019-01-17T13:28:00.000+03 | keep | no
9 | 1071 | 2018-12-14T09:41:00.000+03 | delete | no
9 | 1071 | 2019-01-09T11:31:00.000+03 | keep | no
9 | 1072 | 2018-12-14T09:58:00.000+03 | delete | no
9 | 1072 | 2019-01-09T11:46:00.000+03 | keep | no
9 | 1073 | 2018-12-14T10:05:00.000+03 | delete | no
9 | 1073 | 2019-01-09T11:58:00.000+03 | delete | no
9 | 1073 | 2019-01-22T14:01:00.000+03 | keep | no
9 | 1074 | 2018-12-14T10:24:00.000+03 | delete | no
9 | 1074 | 2019-01-09T12:04:00.000+03 | keep | no
9 | 1075 | 2018-12-14T10:46:00.000+03 | delete | no
9 | 1075 | 2019-01-09T12:19:00.000+03 | keep | no
9 | 1076 | 2018-12-14T10:51:00.000+03 | delete | no
9 | 1076 | 2019-01-09T15:54:00.000+03 | delete | no
9 | 1076 | 2019-01-22T14:19:00.000+03 | keep | no
9 | 1077 | 2018-12-14T10:57:00.000+03 | delete | no
9 | 1077 | 2019-01-09T16:19:00.000+03 | keep | no
9 | 1078 | 2018-12-14T11:01:00.000+03 | delete | no
9 | 1078 | 2019-01-09T16:34:00.000+03 | keep | no
9 | 1079 | 2018-12-14T11:07:00.000+03 | delete | no
9 | 1079 | 2019-01-09T16:40:00.000+03 | keep | no
9 | 1080 | 2018-12-14T11:12:00.000+03 | delete | no
9 | 1080 | 2019-01-09T16:45:00.000+03 | keep | no
9 | 1094 | 2019-01-14T13:45:00.000+03 | delete | no |  | sample re-collected on 28th so lab resulted can also be changed to 28th
9 | 1094 | 2019-01-28T15:12:00.000+03 | keep | no
9 | 1096 | 2019-01-14T14:01:00.000+03 | delete | no |  | sample re-collected on 28th so lab resulted can also be changed to 28th
9 | 1096 | 2019-01-28T15:19:00.000+03 | keep | no
9 | 1098 | 2019-01-14T14:16:00.000+03 | delete | no |  | sample re-collected on 28th so lab resulted can also be changed to 28th
9 | 1098 | 2019-01-28T15:28:00.000+03 | keep | no
2 | 1121 | 2019-01-07T11:41:00.000+03
5 | 1121 | 2019-02-01T12:38:00.000+03 | keep | no
10 | 1156 | 2018-11-23T15:54:00.000+03 | delete |  |  | sample discarded
2 | 1156 | 2019-01-03T11:51:00.000+03 | keep |  | date of analysis should be updated
10 | 1157 | 2018-12-03T16:01:00.000+03 | delete |  |  | sample discarded
2 | 1157 | 2019-01-03T11:56:00.000+03 | keep |  | date of analysis should be updated
10 | 1158 | 2018-12-03T16:08:00.000+03 | delete |  |  | sample discarded
2 | 1158 | 2019-01-03T12:06:00.000+03 | keep |  | date of analysis should be updated
10 | 1159 | 2018-12-03T16:13:00.000+03 | delete |  |  | sample discarded
2 | 1159 | 2019-01-03T12:10:00.000+03 | keep |  | date of analysis should be updated
10 | 1160 | 2018-12-03T16:20:00.000+03 | delete |  |  | sample discarded
2 | 1160 | 2019-01-03T12:23:00.000+03 | keep
2 | 1177 | 2019-01-08T12:09:00.000+03 | keep |  | update date of analysis to 11th/ Jan
2 | 1177 | 2019-01-31T12:20:00.000+03 | delete
2 | 1177 | 2019-01-31T12:27:00.000+03 | delete
2 | 1193 | 2019-01-11T12:11:00.000+03 | delete |  |  | sample re-collected
2 | 1193 | 2019-01-28T14:49:00.000+03 | keep
2 | 1193 | 2019-02-12T13:09:00.000+03 | delete
6 | 1251 | 2018-12-07T10:09:00.000+03 | keep
6 | 1251 | 2018-12-04T11:38:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1252 | 2018-12-07T10:14:00.000+03 | keep
6 | 1252 | 2018-12-04T11:49:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1253 | 2018-12-07T10:20:00.000+03 | keep
6 | 1253 | 2018-12-04T11:53:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1254 | 2018-12-07T10:28:00.000+03 | keep
6 | 1254 | 2018-12-04T12:01:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1255 | 2018-12-07T10:34:00.000+03 | keep
6 | 1255 | 2018-12-04T12:06:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1256 | 2018-12-07T10:40:00.000+03 | keep
6 | 1256 | 2018-12-04T12:14:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1257 | 2018-12-07T10:45:00.000+03 | keep
6 | 1257 | 2018-12-04T12:22:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1258 | 2018-12-07T10:52:00.000+03 | keep
6 | 1258 | 2018-12-04T12:29:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1259 | 2018-12-07T10:57:00.000+03 | keep
6 | 1259 | 2018-12-04T12:38:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1260 | 2018-12-07T11:08:00.000+03 | keep
6 | 1260 | 2018-12-04T12:42:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1261 | 2018-12-11T13:10:00.000+03 | keep
6 | 1261 | 2018-12-04T13:42:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1262 | 2018-12-11T13:18:00.000+03 | keep
6 | 1262 | 2018-12-04T14:15:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1263 | 2018-12-11T13:25:00.000+03 | keep
6 | 1263 | 2018-12-04T14:24:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1264 | 2018-12-11T13:31:00.000+03 | keep
6 | 1264 | 2018-12-04T14:28:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1265 | 2018-12-11T13:36:00.000+03 | keep
6 | 1265 | 2018-12-04T14:34:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1266 | 2018-12-11T13:45:00.000+03 | keep
6 | 1266 | 2018-12-04T14:40:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1267 | 2018-12-11T13:52:00.000+03 | keep
6 | 1267 | 2018-12-04T14:42:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1268 | 2018-12-11T13:57:00.000+03 | keep
6 | 1268 | 2018-12-04T14:45:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1269 | 2018-12-11T14:02:00.000+03 | keep
6 | 1269 | 2018-12-04T14:52:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1270 | 2018-12-11T14:10:00.000+03 | keep
6 | 1270 | 2018-12-04T14:55:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1271 | 2018-12-05T10:53:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1271 | 2018-12-12T13:21:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1271 | 2019-01-16T12:37:00.000+03 | keep |  | correct the analysis date to 17th Jan 2019
6 | 1272 | 2018-12-05T11:03:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1272 | 2018-12-12T13:27:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1272 | 2019-01-16T12:47:00.000+03 | keep |  | correct the analysis date to 17th Jan 2019
6 | 1273 | 2018-12-05T11:06:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1273 | 2018-12-12T13:36:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1273 | 2019-01-16T13:10:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1273 | 2019-02-01T12:19:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1273 | 2019-02-12T12:58:00.000+03 | keep |  | correct the analysis date to 13th Feb 2019
6 | 1274 | 2018-12-05T11:10:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1274 | 2018-12-12T13:40:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1274 | 2019-01-16T13:23:00.000+03 | keep |  | correct the analysis date to 17th Jan 2019
6 | 1275 | 2018-12-05T11:16:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1275 | 2018-12-12T13:48:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1275 | 2019-01-16T13:33:00.000+03 | keep |  | correct the analysis date to 17th Jan 2019
6 | 1276 | 2018-12-05T11:20:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1276 | 2018-12-12T13:56:00.000+03 | keep
6 | 1277 | 2018-12-05T11:28:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1277 | 2018-12-12T14:38:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1277 | 2019-01-16T13:55:00.000+03 | keep |  | correct the analysis date to 17th Jan 2019
6 | 1278 | 2018-12-05T11:32:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1278 | 2018-12-12T14:46:00.000+03 | keep
6 | 1279 | 2018-12-05T11:39:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1279 | 2018-12-12T14:57:00.000+03 | keep
6 | 1280 | 2018-12-05T11:48:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1280 | 2018-12-12T15:04:00.000+03 | keep
6 | 1281 | 2018-12-05T13:43:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1281 | 2018-12-11T15:31:00.000+03 | keep
6 | 1282 | 2018-12-05T13:49:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1282 | 2018-12-11T15:38:00.000+03 | keep
6 | 1283 | 2018-12-05T13:55:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1283 | 2018-12-11T15:48:00.000+03 | keep
6 | 1284 | 2018-12-05T14:00:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1284 | 2018-12-11T15:58:00.000+03 | keep
6 | 1285 | 2018-12-05T14:05:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1285 | 2018-12-11T16:05:00.000+03 | keep
6 | 1286 | 2018-12-05T14:14:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1286 | 2018-12-11T16:13:00.000+03 | keep
6 | 1287 | 2018-12-05T14:20:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1287 | 2018-12-11T16:23:00.000+03 | keep
6 | 1288 | 2018-12-05T14:26:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1288 | 2018-12-11T16:29:00.000+03 | keep
6 | 1289 | 2018-12-05T14:30:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1289 | 2018-12-11T16:39:00.000+03 | keep
6 | 1290 | 2018-12-05T14:42:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
6 | 1290 | 2018-12-11T16:47:00.000+03 | keep
1 | 1359 | 2018-11-26T11:27:00.000+03 | delete |  |  | sample re-collected. Initial lab result was TNTC
1 | 1359 | 2019-01-17T11:31:00.000+03 | keep |  | re- analysis date to 17th Jan 2019 | re-analysis results: 1:100= 190CFU
1 | 1360 | 2018-11-26T11:28:00.000+03 | delete
1 | 1360 | 2019-01-17T12:07:00.000+03 | keep |  | re- analysis date to 17th Jan 2019 | re-analysis results: 1ml of 1:1= TDTC, 1ml of 1:10=110, 1ml of 1:100=0
9 | 1071 | 2018-12-14T09:41:00.000+03 | keep | change code tp 1081
9 | 1071 | 2019-01-09T11:31:00.000+03 | keep
9 | 1072 | 2018-12-14T09:58:00.000+03 | keep | change code to 1082
9 | 1072 | 2019-01-09T11:46:00.000+03 | keep
9 | 1073 | 2018-12-14T10:05:00.000+03 | keep | change code to 1083 |  | this was TNTC so repeat on 22nd jan
9 | 1073 | 2019-01-09T11:58:00.000+03 | keep
9 | 1073 | 2019-01-22T14:01:00.000+03 | keep | change code to 1083
9 | 1074 | 2018-12-14T10:24:00.000+03 | keep | chang e cod eto 1084
9 | 1074 | 2019-01-09T12:04:00.000+03 | keep
9 | 1075 | 2018-12-14T10:46:00.000+03 | keep | change code to 1085
9 | 1075 | 2019-01-09T12:19:00.000+03 | keep
9 | 1076 | 2018-12-14T10:51:00.000+03 | keep | change code to 1086 |  | this was TNTC repeat on 22 jan
9 | 1076 | 2019-01-09T15:54:00.000+03 | keep
9 | 1076 | 2019-01-22T14:19:00.000+03 | keep | change code to 1086
9 | 1077 | 2018-12-14T10:57:00.000+03 | keep | change code to 1087
9 | 1077 | 2019-01-09T16:19:00.000+03 | keep
9 | 1078 | 2018-12-14T11:01:00.000+03 | keep | change code to 1088
9 | 1078 | 2019-01-09T16:34:00.000+03 | keep
9 | 1079 | 2018-12-14T11:07:00.000+03 | keep | change code to 1089
9 | 1079 | 2019-01-09T16:40:00.000+03 | keep
9 | 1080 | 2018-12-14T11:12:00.000+03 | keep | change code to 1090
9 | 1080 | 2019-01-09T16:45:00.000+03 | keep
9 | 1094 | 2019-01-14T13:45:00.000+03 | delete |  | results TNTC
9 | 1094 | 2019-01-28T15:12:00.000+03 | keep |  | repeat of 1094
9 | 1096 | 2019-01-14T14:01:00.000+03 | delete |  | results TNTC
9 | 1096 | 2019-01-28T15:19:00.000+03 | keep |  | repeat of 1096
9 | 1098 | 2019-01-14T14:16:00.000+03 | delete |  | results TNTC
9 | 1098 | 2019-01-28T15:28:00.000+03 | keep |  | repeat of 1098
2 | 1121 | 2019-01-07T11:41:00.000+03 | keep | change to 1161 | mis-coding
5 | 1121 | 2019-02-01T12:38:00.000+03 | keep
10 | 1156 | 2018-11-23T15:54:00.000+03 | delete
2 | 1156 | 2019-01-03T11:51:00.000+03 | keep
10 | 1157 | 2018-12-03T16:01:00.000+03 | delete
2 | 1157 | 2019-01-03T11:56:00.000+03 | keep
10 | 1158 | 2018-12-03T16:08:00.000+03 | delete
2 | 1158 | 2019-01-03T12:06:00.000+03 | keep
10 | 1159 | 2018-12-03T16:13:00.000+03 | delete
2 | 1159 | 2019-01-03T12:10:00.000+03 | keep
10 | 1160 | 2018-12-03T16:20:00.000+03 | delete
2 | 1160 | 2019-01-03T12:23:00.000+03 | keep
2 | 1177 | 2019-01-08T12:09:00.000+03 | delete |  |  | initial reading TNTC
2 | 1177 | 2019-01-31T12:20:00.000+03 | keep |  |  | repeat of 1177
2 | 1177 | 2019-01-31T12:27:00.000+03 | delete |  |  | double entry
2 | 1193 | 2019-01-11T12:11:00.000+03 | delete |  |  | initial reading TNTC
2 | 1193 | 2019-01-28T14:49:00.000+03 | keep |  |  | repeat of 1193
2 | 1193 | 2019-02-12T13:09:00.000+03 | delete |  |  | was not necessary to recollect sample
6 | 1251 | 2018-12-07T10:09:00.000+03 | keep | update date to new analyis date |  | repeat of 1251
6 | 1251 | 2018-12-04T11:38:00.000+03 | delete |  |  | initial reading TNTC
6 | 1252 | 2018-12-07T10:14:00.000+03 | keep | update date to new analyis date
6 | 1252 | 2018-12-04T11:49:00.000+03 | delete |  |  | initial reading TNTC
6 | 1253 | 2018-12-07T10:20:00.000+03 | keep | update date to new analyis date
6 | 1253 | 2018-12-04T11:53:00.000+03 | delete |  |  | initial reading TNTC
6 | 1254 | 2018-12-07T10:28:00.000+03 | keep | update date to new analyis date
6 | 1254 | 2018-12-04T12:01:00.000+03 | delete |  |  | initial reading TNTC
6 | 1255 | 2018-12-07T10:34:00.000+03 | keep | update date to new analyis date
6 | 1255 | 2018-12-04T12:06:00.000+03 | delete |  |  | initial reading TNTC
6 | 1256 | 2018-12-07T10:40:00.000+03 | keep | update date to new analyis date
6 | 1256 | 2018-12-04T12:14:00.000+03 | delete |  |  | initial reading TNTC
6 | 1257 | 2018-12-07T10:45:00.000+03 | keep | update date to new analyis date
6 | 1257 | 2018-12-04T12:22:00.000+03 | delete |  |  | initial reading TNTC
6 | 1258 | 2018-12-07T10:52:00.000+03 | keep | update date to new analyis date
6 | 1258 | 2018-12-04T12:29:00.000+03 | delete |  |  | initial reading TNTC
6 | 1259 | 2018-12-07T10:57:00.000+03 | delete |  |  | initial reading TNTC
6 | 1259 | 2018-12-04T12:38:00.000+03 | keep | readings were valid though high
6 | 1260 | 2018-12-07T11:08:00.000+03 | keep | update date to new analyis date
6 | 1260 | 2018-12-04T12:42:00.000+03 | delete |  |  | initial reading TNTC
6 | 1261 | 2018-12-11T13:10:00.000+03 | keep | update date to new analyis date
6 | 1261 | 2018-12-04T13:42:00.000+03 | delete |  |  | initial reading TNTC
6 | 1262 | 2018-12-11T13:18:00.000+03 | keep | update date to new analyis date
6 | 1262 | 2018-12-04T14:15:00.000+03 | delete | only one reading was valid decided to dilute further |  | initial reading TNTC
6 | 1263 | 2018-12-11T13:25:00.000+03 | keep | update date to new analyis date
6 | 1263 | 2018-12-04T14:24:00.000+03 | delete |  |  | initial reading TNTC
6 | 1264 | 2018-12-11T13:31:00.000+03 | keep | update date to new analyis date
6 | 1264 | 2018-12-04T14:28:00.000+03 | delete |  |  | initial reading TNTC
6 | 1265 | 2018-12-11T13:36:00.000+03 | keep | update date to new analyis date
6 | 1265 | 2018-12-04T14:34:00.000+03 | delete |  |  | initial reading TNTC
6 | 1266 | 2018-12-11T13:45:00.000+03 | keep | update date to new analyis date
6 | 1266 | 2018-12-04T14:40:00.000+03 | delete |  |  | initial reading TNTC
6 | 1267 | 2018-12-11T13:52:00.000+03 | keep | update date to new analyis date
6 | 1267 | 2018-12-04T14:42:00.000+03 | delete |  |  | initial reading TNTC
6 | 1268 | 2018-12-11T13:57:00.000+03 | keep | update date to new analyis date
6 | 1268 | 2018-12-04T14:45:00.000+03 | delete |  |  | initial reading TNTC
6 | 1269 | 2018-12-11T14:02:00.000+03 | keep | update date to new analyis date
6 | 1269 | 2018-12-04T14:52:00.000+03 | delete |  |  | initial reading TNTC
6 | 1270 | 2018-12-11T14:10:00.000+03 | keep | update date to new analyis date
6 | 1270 | 2018-12-04T14:55:00.000+03 | delete |  |  | initial reading TNTC
6 | 1271 | 2018-12-05T10:53:00.000+03 | delete |  |  | initial reading TNTC
6 | 1271 | 2018-12-12T13:21:00.000+03 | delete |  |  | reading TNTC
6 | 1271 | 2019-01-16T12:37:00.000+03 | keep | update date to new analyis date
6 | 1272 | 2018-12-05T11:03:00.000+03 | delete |  |  | initial reading TNTC
6 | 1272 | 2018-12-12T13:27:00.000+03 | delete |  |  | initial reading TNTC
6 | 1272 | 2019-01-16T12:47:00.000+03 | keep | update date to new analyis date
6 | 1273 | 2018-12-05T11:06:00.000+03 | delete |  |  | initial reading TNTC
6 | 1273 | 2018-12-12T13:36:00.000+03 | delete |  |  | reading TNTC
6 | 1273 | 2019-01-16T13:10:00.000+03 | delete |  |  | reading TNTC
6 | 1273 | 2019-02-01T12:19:00.000+03 | delete |  |  | reading TNTC
6 | 1273 | 2019-02-12T12:58:00.000+03 | keep
6 | 1274 | 2018-12-05T11:10:00.000+03 | delete |  |  | initial reading TNTC
6 | 1274 | 2018-12-12T13:40:00.000+03 | delete |  |  | reading TNTC
6 | 1274 | 2019-01-16T13:23:00.000+03 | keep
6 | 1275 | 2018-12-05T11:16:00.000+03 | delete |  |  | initial reading TNTC
6 | 1275 | 2018-12-12T13:48:00.000+03 | delete |  |  | reading TNTC
6 | 1275 | 2019-01-16T13:33:00.000+03 | keep
6 | 1276 | 2018-12-05T11:20:00.000+03 | delete |  |  | initial reading TNTC
6 | 1276 | 2018-12-12T13:56:00.000+03 | keep
6 | 1277 | 2018-12-05T11:28:00.000+03 | delete |  |  | initial reading TNTC
6 | 1277 | 2018-12-12T14:38:00.000+03 | delete |  |  | reading TNTC
6 | 1277 | 2019-01-16T13:55:00.000+03 | keep
6 | 1278 | 2018-12-05T11:32:00.000+03 | delete |  |  | initial reading TNTC
6 | 1278 | 2018-12-12T14:46:00.000+03 | keep
6 | 1279 | 2018-12-05T11:39:00.000+03 | delete |  |  | initial reading TNTC
6 | 1279 | 2018-12-12T14:57:00.000+03 | keep
6 | 1280 | 2018-12-05T11:48:00.000+03 | delete |  |  | initial reading TNTC
6 | 1280 | 2018-12-12T15:04:00.000+03 | keep
6 | 1281 | 2018-12-05T13:43:00.000+03 | delete |  |  | initial reading TNTC
6 | 1281 | 2018-12-11T15:31:00.000+03 | keep
6 | 1282 | 2018-12-05T13:49:00.000+03 | delete |  |  | initial reading TNTC
6 | 1282 | 2018-12-11T15:38:00.000+03 | keep
6 | 1283 | 2018-12-05T13:55:00.000+03 | delete |  |  | initial reading TNTC
6 | 1283 | 2018-12-11T15:48:00.000+03 | keep
6 | 1284 | 2018-12-05T14:00:00.000+03 | delete |  |  | initial reading TNTC
6 | 1284 | 2018-12-11T15:58:00.000+03 | keep
6 | 1285 | 2018-12-05T14:05:00.000+03 | delete |  |  | initial reading TNTC
6 | 1285 | 2018-12-11T16:05:00.000+03 | keep
6 | 1286 | 2018-12-05T14:14:00.000+03 | delete |  |  | initial reading TNTC
6 | 1286 | 2018-12-11T16:13:00.000+03 | keep
6 | 1287 | 2018-12-05T14:20:00.000+03 | delete |  |  | initial reading TNTC
6 | 1287 | 2018-12-11T16:23:00.000+03 | keep
6 | 1288 | 2018-12-05T14:26:00.000+03 | delete |  |  | initial reading TNTC
6 | 1288 | 2018-12-11T16:29:00.000+03 | keep
6 | 1289 | 2018-12-05T14:30:00.000+03 | delete |  |  | initial reading TNTC
6 | 1289 | 2018-12-11T16:39:00.000+03 | keep
6 | 1290 | 2018-12-05T14:42:00.000+03 | delete |  |  | initial reading TNTC
6 | 1290 | 2018-12-11T16:47:00.000+03 | keep
1 | 1359 | 2018-11-26T11:27:00.000+03 | delete |  |  | TNTC
1 | 1359 | 2019-01-17T11:31:00.000+03 | keep | update date to new analyis date |  | repeat of 1359
1 | 1360 | 2018-11-26T11:28:00.000+03 | delete |  |  | TNTC
1 | 1360 | 2019-01-17T12:07:00.000+03 | keep | update date to new analyis date |  | repeat of 1359
1 | 1377 | 2018-12-10T11:55:00.000+03 | keep |  |  | looks like a double entry lets keep initial
1 | 1377 | 2018-12-10T12:00:00.000+03 | delete |  |  | looks like a double entry
1 | 1379 | 2018-12-10T12:05:00.000+03 | delete |  |  | initial count was TNTC
1 | 1379 | 2019-01-29T10:49:00.000+03 | keep | change location code to 310, Kamwokya |  | Repeat of 1379
1 | 1380 | 2018-12-10T12:11:00.000+03 | delete |  |  | initial count was TNTC
1 | 1380 | 2019-01-29T11:24:00.000+03 | keep | change location code to 310, Kamwokya |  | Repeat of 1380
1 | 1386 | 2018-12-17T13:58:00.000+03 | delete |  |  | initial count was TNTC
1 | 1386 | 2019-02-12T11:19:00.000+03 | keep | change location code to 312, Rubaga |  | repeat of 1386
1 | 1389 | 2018-12-17T14:17:00.000+03 | delete |  |  | initial count was TNTC
1 | 1389 | 2019-01-29T13:17:00.000+03 | keep | change location code to 312, Rubaga |  | repeat of 1389
1 | 1390 | 2018-12-17T14:25:00.000+03 | delete |  |  | initial count was TNTC
1 | 1390 | 2019-01-29T13:39:00.000+03 | keep | change location code to 312, Rubaga |  | repeat of 1389
1 | 1395 | 2018-12-06T12:21:00.000+03 | delete |  |  | initial count was TNTC
1 | 1395 | 2018-12-18T12:51:00.000+03 | keep
8 | 2006 | 2018-11-19T12:04:00.000+03 | keep
8 | 2006 | 2018-11-19T12:05:00.000+03 | delete |  |  | could have been a double entry
8 | 2009 | 2018-11-19T12:11:00.000+03 | delete |  |  | initial count was TNTC
8 | 2009 | 2019-02-12T14:52:00.000+03 | keep
8 | 2010 | 2018-11-19T12:12:00.000+03 | delete |  |  | initial count was TNTC
8 | 2010 | 2019-02-12T15:17:00.000+03 | keep
8 | 2012 | 2019-01-04T10:42:00.000+03 | delete |  |  | initial count was TNTC
8 | 2012 | 2019-01-29T10:59:00.000+03 | keep
8 | 2013 | 2019-01-04T10:54:00.000+03 | delete |  |  | initial count was TNTC
8 | 2013 | 2019-01-29T11:31:00.000+03 | keep
8 | 2015 | 2019-01-04T11:09:00.000+03 | delete |  |  | initial count was TNTC
8 | 2015 | 2019-01-29T11:47:00.000+03 | keep
2 | 4004 | 2018-11-19T11:36:00.000+03 | delete |  |  | latrine swab were recollected and codes changed
2 | 4004 | 2018-11-19T11:41:00.000+03 | delete

## Lab Issues
Sample Type | Sample ID | Lab Processing Date | Keep or Delete? | Change ID? If yes what is the new ID | Notes
9 | 1022 | 2018-11-23T15:33:00.000+01 | keep | 1062
3 | 1022 | 2019-01-10T14:00:00.000+01 | keep | no | Changed to match the new sample id
9 | 1023 | 2018-11-23T15:34:00.000+01 | keep | 1063
3 | 1023 | 2019-01-10T14:00:00.000+01 | keep | no
9 | 1024 | 2018-11-23T15:51:00.000+01 | delete
9 | 1024 | 2018-11-23T15:51:00.000+01 | keep | 1064
3 | 1024 | 2019-01-10T14:00:00.000+01 | keep | no
9 | 1025 | 2018-11-23T16:02:00.000+01 | keep | 1065
3 | 1025 | 2019-01-10T19:11:00.000+01 | keep | no
9 | 1026 | 2018-11-23T16:09:00.000+01 | keep | 1066
3 | 1026 | 2019-01-10T14:00:00.000+01 | keep | no
9 | 1027 | 2018-11-23T16:23:00.000+01 | keep | 1067
3 | 1027 | 2019-01-10T19:11:00.000+01 | keep | no
9 | 1028 | 2018-11-23T16:30:00.000+01 | keep | 1068
3 | 1028 | 2019-01-10T14:00:00.000+01 | keep | no
9 | 1029 | 2018-11-23T16:38:00.000+01 | keep | 1069
3 | 1029 | 2019-01-10T14:00:00.000+01 | keep | no
9 | 1030 | 2018-11-23T16:46:00.000+01 | keep | 1070
3 | 1030 | 2019-01-10T14:00:00.000+01 | keep | no
9 | 1051 | 2018-11-17T11:05:00.000+01 | keep | no | double entry into Kobo but results are the same. Results entered in descending
9 | 1051 | 2018-11-17T11:05:00.000+01 | delete | no | results entered in ascending
9 | 1052 | 2018-11-17T11:35:00.000+01 | keep | no | double entry into Bobo collect. Results in descending
9 | 1052 | 2018-11-17T23:35:00.000+01 | delete | no | results in ascending
5 | 1110 | 2018-11-17T14:00:00.000+01 | delete | no
5 | 1110 | 2018-11-17T13:46:00.000+01 | keep | no
10 | 1201 | 2018-11-30T15:30:00.000+01 | delete |  | double entry into Kobo collect
10 | 1201 | 2018-11-30T16:02:00.000+03 | keep |  | right time of analysis
10 | 1202 | 2018-11-30T15:55:00.000+01 | keep
10 | 1202 | 2018-11-30T15:55:00.000+03 | delete |  | double entry into Kobo collect
10 | 1208 | 2018-11-30T15:57:00.000+01 | keep |  | it was entered first
10 | 1208 | 2018-11-30T15:57:00.000+03 | delete |  | double entry into Kobo collect
10 | 1210 | 2018-11-30T15:56:00.000+01 | keep
10 | 1210 | 2018-11-30T15:56:00.000+01 | delete |  | double entry
10 | 1210 | 2018-11-30T15:57:00.000+03 | delete |  | double entry
10 | 1221 | 2019-01-09T09:00:00.000+03 | keep
10 | 1221 | 2019-01-09T09:12:00.000+03 | delete |  | double entry and errors
1 | 1386 | 2018-12-19T14:00:00.000+03 | delete |  | sample was TNTC
1 | 1386 | 2019-02-13T19:38:00.000+01 | keep |  | repeat of 1386
1 | 1387 | 2018-12-19T14:00:00.000+03 | keep
1 | 1387 | 2018-12-19T14:00:00.000+01 | delete |  | double entry
7 | 1409 | 2019-01-18T14:00:00.000+01 | delete |  | double entry
7 | 1409 | 2019-01-18T14:00:00.000+01 | keep
8 | 2009 | 2018-11-20T12:20:00.000+01 | delete
8 | 2009 | 2019-02-14T07:00:00.000+01 | keep
Note on E2: 15-N201: codes for spring 1061-1070 were not availed to field team on 23rd of November so they randomly used the next codes which happened to be 1021-1030 but these were for drinking water and was corrected in lab
Note on H27: 15-N201: 1203;1204;1205;1206; 1207 these were recollected on 3/jan so lab analysis date should be update